Last update: 26.06.2018

**How to display the live video in the Spectral Workbench with different browsers**

**Firefox (Windows)**

Check plug-in updates?

Didn't work

**Chrome (Windows)**

- Plug the USB (Webcam - Spectrometer) into your laptop

- Load <http://www.spectralworkbench.com/capture>

- Not mandatory, make an account and log in, or click on “No Thanks”

- Chrome will display directly the video or ask for permissions

- Click on the camera picture on the top bar and choose “manage” from the options

- Look for the name of your webcam and choose it

- Reload the Spectral Workbench website

**Opera (Windows)**

- Plug the USB into your laptop

- Load <http://www.spectralworkbench.com/capture>

- Not mandatory, make an account and log in, or click on “No Thanks”

- Opera will automatically ask for the permission to access the predefined camera

- Click on the camera on the top

- Deny access and reload

- Click again on the camera on the top

- Delete this option and reload

- Opera will ask for access to a camera, and now you can pick the secondary camera (“Camera L, on my laptop) and allow it